## Slide 1: Indication
Workshop 2013

## Slide 2: Indication Goals
PAX2 Series Update
Expanding Our Range

## Slide 3: PAX2 Series

## Slide 4: PAX2 Series
UL Listed
  PAX2A
  PAX2D
  PAX2S
  PAX2C

## Slide 5: Update on FlexBus

## Slide 6: Expanding Our Range

## Slide 7: The Brand Is Ours

## Slide 8: Panel Meter Numbers
Digital Meters
Analog Meters
Signal Conditioners
Sensors
Accessories
???

## Slide 9: Panel Meter Numbers
Digital Meters
Analog Meters
Signal Conditioners
Sensors
Accessories
PID Controllers

## Slide 10: Our Current Products

## Slide 11: Temperature Control Market
Chart: 
Low Cost | 10 | 12 | 10 | 13 | 11 | 12 | 11
Single Loop | 18 | 23 | 21 | 24 | 19 | 20 | 22
Multi-loop | 30 | 28 | 32 | 33 | 29 | 29 | 31
Charts are representative only

## Slide 12: What’s Missing?
Chart: 
Low Cost | 10 | 12 | 10 | 13 | 11 | 12 | 11
Single Loop | 18 | 23 | 21 | 24 | 19 | 20 | 22
Multi-loop | 30 | 28 | 32 | 33 | 29 | 29 | 31
Charts are representative only

## Slide 13: Introducing PXU Series
Our New Low Cost Controllers
1/16, 1/8 and 1/4 DIN Models

## Slide 14: PXU Features
Our New Low Cost Controllers
Full PID Control
Universal Input - TC, RTD, 0 – 10 VDC, and 0 -20 mA (0 -50 mA)
On demand auto-tuning
PC or front panel programming
1 Inch shorter depth
Initial offering AC powered
Custom overlay capability
UL Listed, 61010-1, Process Control Equipment

## Slide 15: Most Important
Look and feel, both product and programming

## Slide 16: Programming Loops
Red Lion Programming

## Slide 17
E2 I/O for remote I/O
RAM LTE for remote access
Laptop for remote monitoring and control
Dedicated PID controller with display
105TX for local network
Graphite HMI with local I/O

## Slide 18: Hands-on
Wiring the controller

## Slide 19: Let’s Try One
Installing the controller

## Slide 20: Programming Overview
Configuration Loop

## Slide 21: Module 1 – Input Parameters
Parameter Display Selection
Input Type tyPE tc -J
Temperature Scale SCAL ˚F
Decimal Resolution dCPt 0
Digital Filtering FLtr 8
Input Filter Band bANd 1

## Slide 22: Module 1 – Input Parameters
Parameter Display Selection
Shift/Offset SHFt 0
Display Value PT 1 dSP1 0.0
Display Value PT 2 dSP2 100.0
Setpoint Low Limit SPLO -148
Setpoint High Limit SPHI 2192

## Slide 23: Module 1 – Input Parameters
Parameter Display Selection
User Inputs USr1 or USr2 NONE
Function Keys FIIn or F2In NONE
Cold Junction CJC ON

## Slide 24: Additional Modules
Module 2 – Output Parameters
Module 3 – Lockout Parameters

## Slide 25: Additional Modules
Module 9 – Factory Service Operations
Module 4 – Alarms Parameters

## Slide 26: Serial Communication
Module 7 – Serial Communication Parameters
Comms Type – Modbus RTU
Baud Rate – 38.4K
Address 247

## Slide 27: Process Applications
Chemical Pumps
Automotive Fluids
Cooling Controls

## Slide 28: Temperature Applications
Ovens and Smokers
Food Warmers
Fryers and Grills

## Slide 29
Still in operation and application to PID control

## Slide 30: Complete Offering
Chart: 
Low Cost | 10 | 12 | 10 | 13 | 11 | 12 | 11
Single Loop | 18 | 23 | 21 | 24 | 19 | 20 | 22
Multi-loop | 30 | 28 | 32 | 33 | 29 | 29 | 31
Charts are representative only

## Slide 31: Thank You