## Slide 1: RTU & IO
Workshop 2013
Notes: Introduction

## Slide 2
Remote Monitoring and Control in the Most Extreme Environments
Notes:   (Applications from left to right; top to bottom)
  A variety of applications. Up to the imagination of integrator.
  Water & Wastewater
    -Used in many lift stations
    -Tank Monitoring
    -Water Treatment
    -Wastewater
  Oil and Gas wellhead
    -Wellhead gas and oil measurement and monitoring
    -Pumpjack optimization
    -Pipeline and distribution monitoring
    -Off-shore platform monitoring
    -150deg
  Maritime
    -Offshore oil rigs
    -Automating sea fairing construction vessels
  Solar Tracking and Demand Response
    -Used in the system that won PG&E the award for smart grid in 2012
    --Micro solar power plants
    --Auto-Demand response applications, Keeping the building at certain usage
  Segway: Why can we be used in all these applications?

## Slide 3: Certified to Perform
ATEX
Notes:   Pic: HAZ LOC
    -UL class 1 Div II
    -ATEX – More stringent than UL
  Pic: DNV and ABS – Do you get call for this?
    -Vibration
    -Compliance
  Pic: Extreme Temps
    -40 to 75 degC
Segway: What are these products?

## Slide 4: RTU & I/O product line
Notes: RTUs with and without on-board I/O
- Pass-out 2 RTUs so they can see it in their hands
I/O modules
- Over 17 models of I/O types and mixtures
- Stand alone.

## Slide 5: RTU and I/O Part Numbers
ST-IPm-6350
VT-IPm-1410
VT-mIPm-135-D
VT-mIPm-245-D
VT-IPm2m-113-D
VT-IPm2m-213-D
VT-uIPm-431-H
E2-
32
DI
24
-D
E2-
32
DI
24
-D
Notes: EtherTRAK-2 Product numbers
- E2-MIX24880-D
- E2-MIX24882-D
- E2-32DI24-D
- E2-16DI24-D
- E2-16DIAC-D
- E2-32DO24-D
- E2-16DO24-D
- E2-16DORLY-D
- E2-32AI20M-D
- E2-16AI20M-D
- E2-8AO20M-D
- E2-16AI8AO-D
- E2-16ISOTC-D
- E2-16ISO20M-D
- E2-10RTD-D

## Slide 6: Don’t lose your head!
Notes: Does anyone know what this kid is stealing.
This boy is stealing natural gas right off the well head in rural china
  -Story of how Chinese are stealing gas.
    -Hazardous Location
    -Remote wellhead must be monitored so this won’t happen.
It may be a few months before you get to a site. Things have to be under control.
-What if a leak occurs?
-What if the gas output is not equal to delivered
What is the best way to make sure bad things don’t happen

## Slide 7: Wellhead monitoring
rtu
inside
Notes: Slide 6 – Wellhead monitoring
  Pic: Remote wellhead installation with RTU installed, Solar panel, Christmas tree, the whole works.
  Remote locations need reliable equipment
  - Customers have been using RTU as flow computer for years  we finally figured out;
  Installed in Aus outback and middle east
    -HAZ LOC certifications
    -Linux OS – Reliable and Flexible
    -Extreme Temperatures.
  I/O Controls
    -Shut off valves
Measure Gas next slide

## Slide 8: Measure Gas
Notes:   Pic: Measuring gas through an orifice plate.
  Measure gas coming from the ground
    -Used in API 21.1 today
      --Gaps filled by integrator
      --Show AGA
    -Future – API 21.1 and 21.2 (gas and liquids)
      --Just provide SCADA host and RTU will connect to it.
      --smaller gas companies

## Slide 9: Atomic Downloading
Notes:   Pic: Lossy radio network
  Demonstration of the remote loading.
  Most radio networks are inherently unreliable
  Benefits of Atomic loading is

## Slide 10: Pipeline to possible problems!
Notes:   Pic: Destroyed LNG pipeline that was destroyed.
  Story of how unmonitored pipeline could be a ticking time bomb.
  -Pipeline exploded in San Bruno California
  Segway: How to prevent this from happening?

## Slide 11: Distribution pipeline monitoring
Storage Field
Compressor
City Gate
Notes:   Pic: Consumer’s Distribution Network
  Story of Consumers Energy
    -Pipeline and distribution network monitoring
    -Sixnet RTU and IO are installed at the City Gate
    --Measures pipeline pressure
    ---Measure pressure at all ends so it can detect leaks.
    --reduces pipeline pressure
    --Adds odor for safety

## Slide 12: Need More I/O?
Notes:   Pic of RTU and E2 I/O being added to it as instruments are added to the network.
  Some locations need a lot of I/O
    -Add EtherTRAK-2 modules
  What if there is no RTU?
    -Add EtherTRAK-2 anyway.
    -Modbus ASCII/RTU
    -Modbus TCP and UDP

## Slide 13: Network Flexibility
Two Networks Mode
Ring Switch Mode
Switch Elimination Mode
Notes: DIFFERENTIATING FEATURE IS NETWORKING
THREE DIFFERENT NETWORK MODES
Ring
-Use with SLX-6RS and SLX-5MS/8MS
Switch Elimination mode
-Not going to eliminate every switch
Two networks
-Two different subnets
Pass-out the EtherTRAK-2
Anatomy of the EtherTRAK-2

## Slide 14: E2-MIX24882-D Wiring
DI
DI/DO
AI
AO

## Slide 15: Wiring-up the EtherTRAK-2
Notes: Unplug power supply.
Wire-up the EtherTRAK-2
Plug in power supply

## Slide 16
E2 I/O for remote I/O
192.168.1.1
RAM LTE for remote access
192.168.1.3
Laptop for remote monitoring and control
192.168.1.100
Dedicated PID controller with display
7506TX for local network
192.168.1.4
Graphite HMI with local I/O
192.168.1.20
SLX-8MS-1
192.168.1.2
Notes: Pass out switch and connect network.
How to connect the network…

## Slide 17: NCPA.CPL
Notes: NCPA.CPL
The Network adapter with “x” that is not a VPN.
Right-click go to “Properties”
IPv4 Properties

## Slide 18: Set-up IP address on computer
Notes:   Connect to the RTUs via computers
  Intro to the Webui.
  -Set IP address show some features
  -Enable Counters
  -Enable Discrete Outputs

## Slide 19: Controlling outputs
Notes: HMI/PLC/Control Room – Writing outputs – hopefully not at the same time.

## Slide 20: What if the network fails?
Notes:   Pic: Network between RTU and HMI is broken (backhoe tax).
  HMI controls outputs
  Heartbeat timeout feature.
  Demonstrate Heartbeat timeout

## Slide 22: Modbus Registers and IP addresses
Counter Input – Analog Input - 30009
Discrete Output – Coil – 00001
Notes: Show the tool kit software.

## Slide 23: Value is compressed into RTU and I/O
Notes:   Pic: Compressor smoking or running inefficient
An unmonitored compressor is NOT running efficiently or could be damaged.

## Slide 24: Compressors run better with RTUs & IO
Notes: Example of RTI Compressor.
Over 4000 RTUs and I/O install in Northern Canada (near artic circle)
OEM takes knowledge of compressors and programs it into the RTU
RTU and I/O perform safety shutdown
The Program in the RTU make the compressor run better
-- Natural gas that is normally lost is reclaimed
-- End Customer get Environmental credit

## Slide 25: RTU and I/O are remote
Notes: The RTU is installed in remote locations
Install the RTU and I/O where people are not.

## Slide 26: Various types of I/O
Notes:   Pic: E2 connecting all types of I/O to compressor
  Analog Inputs
  Analog outputs
  Discrete inputs
  Discrete outputs
  Temperature

## Slide 27: Flexible Programming – IEC61131-3
Notes: From Left to right starting at the top the languages are:
FBD – Function Block Diagram
Ladder – Quick Ladder
SFC – Sequential Function Chart
IL – Instruction List
ST – Structured Text

## Slide 28
IEC61131-3
Notes:   C programming
  ISaGRAF
  Linux
  - Use all in combination to make their perfect application.
  -- Their own protocol (ex: IEC60870)

## Slide 29: Integrator and OEM
Notes: Do you have customers like this guy?
They can program anything.
They are technical
They know their market
RTU and I/O is perfect for the integrators and OEMs like him.

## Slide 30: Use the RTUs and I/O anywhere
Notes:   Pic: The various applications in a thought bubble above someone’s head
  If they can dream the application chances are the RTU and I/O can do it.

## Slide 31: I/O and Switches - pull through
Notes:   E2 connected to variety of products and can be distributed I/O
  EtherTRAK-2 is a great I/O Line by itself
  Add it to the HMI

## Slide 32: Thank You